## Blad1
In the first column you find the capacitors that were measured on an Agilent 4248A by Ossi
These measurements were done @ several frequencies
Agilent 4248A |  | Elm |  |  |  | Elcie |  |  | Remarks
|  |  |  | Elm-error [ % ] | @f [kHz] |  |  | Elcie-error [ % ]
SilverMica Elcie Cal
1.9968 | nF | 1.998 | nF | -0.0601% | 322 | 1.997 | nF | -0.01002% | Both methods very good
300 kHz | @f
7500 | Q
Red Film
399.3 | nF | 400 | nF | -0.1753% | 27.6 | 406.2 |  | -1.728% | As can be expected: the Elcie-priciple is not the best
500 Hz | @f | [8 empty] | choice. Q of the circuit drops @ larger c”s
330 | Q
396.5 | nF
5 kHz | @f
128 | Q
Red Film
92.42 | nF | 92.48 | nF | -0.06492% | 55 | 92.71 | nF | -0.3138% | As remark above, but still pretty good !
500 Hz | @f
400 | Q
91.92 | nF
5 kHz | @f
162 | Q
Polystyrene
2.2492 | nF | 2.255 | nF | -0.2579% | 310 | 2.249 | nF | 0.008892% | Here we see that Elcie is the best choice
300 kHz | @f | [8 empty] | But Elm's performance is still very good
2300 | Q
Red film Elm Cal
97.411 | nF | 97.45 | nF | -0.04004% | 54.6 | 99.43 | nF | -2.073% | Elsie is in trouble again: low Q
500 Hz | @f | [7 empty] | Elm performs great
4000 | Q
97.411 | nF
5 KkHz | @f
3720 | Q
Inductor
140.16 | uH
1 kHz | @f
5 KkHz | Q
138.44 | uH
10 kHz | @f
28 | Q
133.4 | uH |  |  |  | 340 | 130.8 | uH | 1.949% | Here we see the proof that the effective inductivity
100 kHz | @f | [7 empty] | depends on the frequency used.
28 | Q
Inductor data for graph
Inductance versus frequency
|  |  |  | Frequency | Inductance
|  |  |  | 1 | 140.16
|  | Agilent |  | 10 | 138.44
|  |  |  | 100 | 133.4
|  | Elcie |  | 340 | 130.8